## Air Dryer
| OPPORTUNITY | Install High-Efficiency Air Dryer
| INSTRUCTIONS | This Technical Details Form MUST be completed and attached to a completed Custom Project Preapproval Application to begin a preapproval review of your proposed high-efficiency air dryer installation project; failure to do so will delay the preapproval review of your project. This form should capture the technical information required to initiate a preapproval review for installing a high-efficiency air dryer. Note that: - Each column in the "Dryer Specifications" section of the table corresponds to one dryer. For projects involving Desiccant Dryers, please complete the "Desiccant Dryer Specifications" entries in the "Dryer Specifications" section and the "Air Compressor Performance" section of the table. - The "Existing System" section of the table should list all existing air dryers in the system - The "Baseline System" section of the table should list all existing air dryers and less-efficient alternative new air dryers that would be in the less-efficient alternative system if two different solutions are being considered - The "Proposed System" section of the table should list all existing and new air dryers that will be in the system after project implementation - Preapproval applications submitted without an accompanying technical details form may be rejected Need help, a copy of the Custom Project Preapproval Application, or more information? Visit midamericanenergy.com/ia-bus-energy-solutions, call 877.932.0616 or email energyexpert@midamerican.com. Please refer to midamericanenergy.com/ia-bus-qualifications-conditions for terms and conditions.
PROJECT CONTACT INFORMATION
|  |  | Customer Information |  |  |  | Contractor / Trade Ally Information
|  | Customer Name |  |  |  | Company Name
|  | Project Contact Name |  |  |  | Project Contact Name
|  | Project Contact Email |  |  |  | Project Contact Email
|  | Project Contact Phone Number |  |  |  | Project Contact Phone Number
COST CRITERIA
|  |  | Existing System |  |  | Baseline System |  |  | Proposed System
|  | Does existing system meet end-use requirements? |  |  |  | Project Costs |  |  | Project Costs
[5 empty] | Equipment / Materials |  |  | Equipment / Materials
[5 empty] | Contractor (External) Installation / Labor |  |  | Contractor (External) Installation / Labor
[5 empty] | Sales Tax |  |  | Sales Tax
[5 empty] | Freight / Shipping |  |  | Freight / Shipping
[5 empty] | Other |  |  | Other
[5 empty] | Full Project Cost | 0 |  | Full Project Cost | 0
Typically hidden - Nexant to complete |  | General Criteria
Typically hidden - Nexant to complete |  | Are gas incentives available?
Typically hidden - Nexant to complete |  | Existing Equipment Installation Year
Typically hidden - Nexant to complete |  | Existing Equipment Estimated Useful Life (years) |  | Industry accepted average lifetime of baseline equipment
Typically hidden - Nexant to complete |  | Expected Life of Opportunity (years) |  | Industry accepted average lifetime of the upgrade
Typically hidden - Nexant to complete |  | Eligible Project Cost |  | Cost used to determine incentive; full cost of efficiency upgrade
LOCATION
Area / equipment served by CAS System
DRYER SPECIFICATIONS
|  |  | Existing System |  |  | Baseline System |  |  | Proposed System
Dryer Name/Description
Manufacturer
Model
Equipment Age (years)
Type - Control
Dryer Size (cfm)
Compressors Served
Dryer Operating Hours
Typically hidden - Nexant to complete
Typically hidden - Nexant to complete |  | Refrigerated Dryer Specifications
Typically hidden - Nexant to complete |  | Package Input Power at 100% Flow (kW)
Typically hidden - Nexant to complete |  | Package Input Power at 10% Flow (kW)
Desiccant Dryer Specifications - If Applicable
Type of Control
Typically hidden - Nexant to complete |  | Rated Heater Power (kW)
Typically hidden - Nexant to complete |  | Rated Blower Power (kW)
DRYER FLOW PROFILE
Average Flow through Dryer* (cfm)
Peak Flow (cfm)
*Average flow is during all operating hours of the dryer and the average may include periods where the associated compressor is off.
AIR COMPRESSOR PERFORMANCE
Trim Compressor (complete this section if Desiccant Dryers are present)
Compressor Name/Description
Manufacturer
Model
Equipment Age (years)
Type - Control
Nominal Compressor Size (hp)
Typically hidden - Nexant to complete |  | Rated Flow (cfm)
Rated Pressure (psig)
Typically hidden - Nexant to complete |  | Package Input Power (from CAGI) (kW)
Total System Storage (gallons)
Load / Target Pressure (psig)
Unload / Stop Pressure (psig)
OPERATING HOURS
Compressed Air System
|  |  | Existing System |  |  | Baseline System |  |  | Proposed System
|  |  | Start | Stop |  | Start | Stop |  | Start | Stop
|  | Monday |  |  | Monday |  |  | Monday
|  | Tuesday |  |  | Tuesday |  |  | Tuesday
|  | Wednesday |  |  | Wednesday |  |  | Wednesday
|  | Thursday |  |  | Thursday |  |  | Thursday
|  | Friday |  |  | Friday |  |  | Friday
|  | Saturday |  |  | Saturday |  |  | Saturday
|  | Sunday |  |  | Sunday |  |  | Sunday
|  | Weeks of Operation per Year |  |  | Weeks of Operation per Year |  |  | Weeks of Operation per Year
|  | Days Off per Year (Holidays, Maintenance, etc) |  |  | Days Off per Year |  |  | Days Off per Year
Typically hidden - for use with Dropdown menus | [10 empty] | Dropdown Menu - Dryer Control
Typically hidden - for use with Dropdown menus | [10 empty] | Refrigerated Dryer - Cycling
Typically hidden - for use with Dropdown menus | [10 empty] | Refrigerated Dryer - Non-Cycling
Typically hidden - for use with Dropdown menus | [10 empty] | Desiccant Dryer - Heatless
Typically hidden - for use with Dropdown menus | [10 empty] | Desiccant Dryer - Heated
Typically hidden - for use with Dropdown menus | [10 empty] | Desiccant Dryer - Heater & Blower
Typically hidden - for use with Dropdown menus | [10 empty] | Desiccant Dryer - Heater & Blower w/ Cool-off
Typically hidden - for use with Dropdown menus
Typically hidden - for use with Dropdown menus | [10 empty] | Dropdown Menu - Desiccant Control
Typically hidden - for use with Dropdown menus | [10 empty] | Timer
Typically hidden - for use with Dropdown menus | [10 empty] | EMS
Typically hidden - for use with Dropdown menus
Typically hidden - for use with Dropdown menus | [10 empty] | Dropdown Menu - Trim Compressor Control
Typically hidden - for use with Dropdown menus | [10 empty] | Reciprocating - On/off Control
Typically hidden - for use with Dropdown menus | [10 empty] | Reciprocating - Load/Unload
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Load/Unload - 10 gal/CFM
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Load/Unload - 5 gal/CFM
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Load/Unload - 3 gal/CFM
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Load/Unload - 2 gal/CFM
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Load/Unload - 1 gal/CFM
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Load/Unload - Oil Free
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Inlet Modulation
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Inlet Modulation w/ Unloading
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - Variable Displacement
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - VFD w/ Unloading
Typically hidden - for use with Dropdown menus | [10 empty] | Screw - VFD w/ Stopping
Typically hidden - for use with Dropdown menus | [10 empty] | Centrifugal - IBV w/ Blow-off
Typically hidden - for use with Dropdown menus | [10 empty] | Centrifugal - IGV w/ Blow-off